## Sheet1
Series Name | Category / Purpose Type | Models
IntelliVue | Bedside Monitors | MX400 | MX450 | MX500 | MX550 | MX700 | MX800 | MP2 | MP5
| Feature set | Portable Bedside Monitor 9' Colour touch screen Wireless Data transfer toEMR Multichannel Vital sign display | .Portable Bedside Monitor .12' Colour touch screen .Integrated Alarm Advisor .Standard Multi-measurement capability | .Portable Bedside Monitor .12' Colour touch screen .Integrated Alarm Advisor .Standard Multi-measurement capability with additional mesurement modules | .Portable Bedside Monitor .15' Colour touch screen .Integrated Alarm Advisor with silent ICU feature .Built-in Advanced Clinical Solutions | .Fixed Bedside Monitor .15' Colour touch screen .Clinical Decision support for better patient care .Integrated PC option to access broad patient info | .Fixed Bedside Monitor .15' Colour touch screen .Integrated PC and monitor .Monitor and PC concurrent functioning | .Portable Monitor .3.5' Colour display .Compact design weighing 1.5kgs .ECG/SpO2 real time data acquisition | . Portable Monitor .5.5' Colour display . Wired and Wireles connection support .12 Lead ECG and ST segment analysis
SureSigns | Vital Signs monitor | VM1 | VM4 | VM6 | VM8 | Vsi | VS2+
| Feature set | . 10.5 x 3.5'' . WQVGA TFT-AM LCD display .including optional CO2 module and recorder: 1.82 kgs .HL7 format via Ethernet port/ USB port | . 10.2 x 8.6 '' .SVGA TFT-AM LCD display .3.0 kg (6.6 lbs) excluding optional recorder and temperature module .HL7 format via Ethernet port/ USB port | . 10.2 x 8.6 '' .SVGA TFT-AM LCD display .3.0 kg (6.6 lbs) excluding optional recorder and temperature module .HL7 format via Ethernet port/ USB port | . 12.2 x 10.6 '' .SVGA TFT-AM LCD display .3.5 kg (7.7 lbs) excluding optional recorder and CO2 .HL7 format via Ethernet port/ USB port | . 8.1 x 7.2 .WQVGA TFT-AM LCD display .including battery, temperature module and wireless option: 1.7 kg .HL7 format via Ethernet port Serial data | . 7.2 x 5.9'' .WQVGA RFT-AM LCD Display .2.0kg including battery, recorder, temperature module and wireless .HL7 format, via Ethernet port /Serial data via UART
Avalon | Maternity and Fetal monitor | CL | FM20 | FM30 | FM40 | FM50
| Feature set | .Portable vital signs monitor .No cables allowing free movement .3 types of transducers .Monitors twins,triplets and mother | .Cordless Transducer system .Large Intutitive color display .SmartPulse for automated coincidence detection . Monitoring capabilities expaneded beyond triplets | .Cordless Transducer system .Large Intutitive color display .SmartPulse for automated coincidence detection . Monitoring capabilities expaneded beyond triplets | .Cordless Transducer system .Large Intutitive color display .SmartPulse for automated coincidence detection . Monitoring capabilities expaneded beyond triplets | .Cordless Transducer system .Large Intutitive color display .SmartPulse for automated coincidence detection . Monitoring capabilities expaneded beyond triplets
Efficia | High end monitors | CM series | CMS200
| Feature set | .10.6 in × 6.6 in .LCD, with 5-wire resistive touch screen .3.3 kg (with no battery) .Built-in HL7 connectivity to interface with hospital Information systems | .Single display capability (upto 16 beds) .Dual display capability(upto 32 beds) .Real time numeric data and waveforms; Tabular trend data; Graphical trend data; NBP trend data; Alarm/event history
Solutions
Solution Name | Category
CDS Online Electronic help | CDS | Rich decision-support information to support high standards of care and Developed by ESA to reduce anaesthesiology complexities
IntelliView Guardian Solution | Early Warning Estimation System | Automated Early Warning Score helps prevent treatment delays and Detects deviations to spot subtle signs of deterioration
Intelli Space Alarming Report | Central Survelliance and Alarming
IntelliSpace Event Management | Central Survelliance and Alarming
IntelliVue Information Centre Xi | Central Survelliance and Alarming